## Slide 1: MOS tech development at the UKATC National Astronomy Meeting 2025, Durham

## Slide 3: UKATC MOS: past, present and future
GMOS, Gemini (2001)
KMOS, VLT (2012)
MOONS, VLT (2025)
WST
HRMOS, VLT

## Slide 4
Slitless spectroscopy

## Slide 5
Long-slit spectroscopy

## Slide 6
Fibre-fed spectroscopy

## Slide 7
Multi-object fibre-fed spectroscopy

## Slide 8
Plug plate
SDSS

## Slide 9
Pick and place
WEAVE
FLAMES

## Slide 10
Tilting spines
4MOST

## Slide 11
Theta-Phi

## Slide 12
WST is a new observatory proposed as a spectral follow-up to current all-sky imaging surveys
Seeing-limited in visible wavelength
12m mirror & 3.5deg2 FoV
Focal plane diameter of ~1.4 m
32,000 fibres (30,000 LR, 2000 HR)
Simultaneous LR/HR MOS and IFS operation
Targets of Opportunity
Wide-field Spectroscopic Telescope

## Slide 13
Circle diameter is FoV

## Slide 14
?
theta-phi
tilting spines
pick and place
slit mask / StarBug
Circle diameter is FoV

## Slide 15: Positioner groups and concepts
AAO – tilting spines
AIP – bending spines (FLEX)
EPFL – theta-phi
UKATC – r-theta
Positioner
Module

## Slide 16: UKATC R-theta positioner
R-theta concept advantages
  Large patrol radius, high proportion of FoV covered by >1 fibres
  Good control of pupil alignment and focus
  Onboard position sensing allowing closed-loop positioning
  Good operational flexibility

## Slide 17: UKATC R-theta positioner
MOONS swept path
Path planning runtime

## Slide 18: UKATC fibre switch
100% FoV coverage in both HR and LR modes is very difficult!
Big patrol zones
Fibre switches
SWITCH
HR SPEC
LR SPEC

## Slide 19: UKATC focal plane parametric design
Structural FEA
Thermal steady state FEA
Simulation Inputs:
Gravity load in -Z
Displacement restraint
Outputs:
Displacement distribution
Future steps:
Include mass load of electronics
Include parametric mass from
number of positioners which defines module mass
Displacement restraint
Gravity load
Simulation Inputs:
Heat from motors
Module and Frame conduction
Outputs:
Steady state temperature
Future steps:
PCB envelope and heat
Air convection
Individual motors envelope
Individual Positioners Envelope

## Slide 20: Questions